RISK ASSESSMENT & METHOD STATEMENT

GROUNDWORKS OPERATIONS

Document Ref: RAMS-GW-001  |  Version: 1.0

| Company Name: | Project Name: | Site Address: | Client: |
| --- | --- | --- | --- |
| Date Prepared: | Review Date: | Prepared By: | Approved By: |
| ____/____/________ | ____/____/________ |  |  |

1. SCOPE OF WORKS

Description of Works:

Groundworks operations including site clearance, excavation, foundation works, drainage installation, and backfilling. Works to be carried out in accordance with drawings and specifications.

Activities Covered:

•  Site clearance and vegetation removal

•  Setting out and levels

•  Excavation for foundations and services

•  Drainage installation

•  Concrete foundations and ground beams

•  Backfilling and compaction

•  Service connections

2. RISK MATRIX

| L \ S | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- |
| 5 | 5 | 10 | 15 | 20 | 25 |
| 4 | 4 | 8 | 12 | 16 | 20 |
| 3 | 3 | 6 | 9 | 12 | 15 |
| 2 | 2 | 4 | 6 | 8 | 10 |
| 1 | 1 | 2 | 3 | 4 | 5 |

Severity (columns): 1=Negligible, 2=Minor, 3=Moderate, 4=Major, 5=Catastrophic

Likelihood (rows): 1=Rare, 2=Unlikely, 3=Possible, 4=Likely, 5=Almost Certain

3. HAZARD IDENTIFICATION & RISK ASSESSMENT

| Hazard | Who at Risk | Initial Risk (LxS) | Control Measures | Residual Risk |
| --- | --- | --- | --- | --- |
| Excavation collapse | Operatives, site workers | 4x5=20 | Shoring/battering as per design, daily inspections, competent person supervision, barriers around excavations | 2x5=10 |
| Underground services | Operatives | 4x5=20 | CAT & Genny scans before digging, service drawings obtained, hand dig within 500mm of services | 2x5=10 |
| Plant/machinery strikes | All site personnel | 4x4=16 | Exclusion zones, trained banksmen, hi-vis PPE mandatory, reversing alarms | 2x4=8 |
| Manual handling injuries | Operatives | 3x3=9 | Mechanical aids where possible, team lifting, training provided | 2x3=6 |
| Falls into excavations | All site personnel | 3x4=12 | Barriers and guard rails, safe access/egress points, adequate lighting | 2x4=8 |
| Noise exposure | Operatives | 3x3=9 | Hearing protection zones, PPE provided, equipment maintained | 2x3=6 |
| Vibration (HAV/WBV) | Plant operators | 3x3=9 | Low vibration equipment, exposure monitoring, regular breaks | 2x3=6 |

4. METHOD STATEMENT

Sequence of Operations:

1.  Pre-start checks: site induction, review of drawings, service location, plant checks

2.  Site clearance: remove vegetation, topsoil strip, stockpile materials

3.  Setting out: establish datum points, mark excavation areas, confirm levels

4.  Service location: CAT & Genny scan, trial holes where required

5.  Excavation: excavate to design levels, install shoring as required

6.  Drainage: install drainage runs, bedding and surround as specified

7.  Foundations: pour concrete foundations to design specification

8.  Backfill: backfill and compact in layers, reinstate surfaces

5. PPE REQUIREMENTS

•  Hard Hat (EN 397)

•  Hi-Vis Vest (EN 471 Class 2)

•  Safety Boots (EN 345 S3)

•  Gloves (EN 388)

•  Eye Protection (when cutting/grinding)

•  Ear Protection (in designated zones)

•  Dust Mask (FFP2 minimum)

•  Waterproofs (as weather requires)

6. EMERGENCY PROCEDURES

First Aider: ________________________   First Aid Kit Location: ________________________

Emergency Assembly Point: ________________________

Emergency Contacts:

•  Emergency Services: 999

•  Site Manager: ________________________

•  Company Office: ________________________

•  Nearest A&E: ________________________

In case of excavation collapse: do NOT enter excavation. Call emergency services. Account for all personnel. Secure the area.

7. SIGN-OFF

I confirm that I have read, understood, and will comply with this RAMS:

| Name (Print) | Company | Signature | Date |
| --- | --- | --- | --- |

This template must be adapted to your specific site conditions and activities.

Template provided by Site Samurai — sitesamurai.co.uk